## Sheet1
summary | description | customfield_requirement | steps | actions | expectedResults | acceptanceCriteria
Patient views available slots for a specific doctor | Verify a logged-in patient can successfully view available appointment slots for a chosen doctor on a specific date. | APPT-101 (1), ISO 13485:2016 &7.5 | Step 1: Login as Patient. Step 2: Navigate to appointment scheduling module. Step 3: Select 'Dr. Alice Smith'. Step 4: Select 'Tomorrow's Date'. | View available slots for Dr. Alice Smith on Tomorrow's Date. | The system displays a list of open time slots for Dr. Alice Smith on the selected date. | Patients can clearly see available appointment times for selected doctors and dates.
System displays message when no slots are available | Verify the system gracefully handles scenarios where no appointment slots are available for a selected doctor and date. | APPT-101 (1), IEC 62304 &5.2.4 | Step 1: Login as Patient. Step 2: Navigate to appointment scheduling module. Step 3: Select 'Dr. Bob Johnson' (who has no availability). Step 4: Select a date in the near future. | Attempt to view available slots. | The system displays a message indicating 'No available slots' or 'Fully booked for this date' without any errors. | System informs the patient clearly when no slots are available for a given doctor and date.
Successful appointment booking by a patient | Verify a patient can successfully book an appointment for an available slot and receives an on-screen confirmation. | APPT-101 (2), FDA 21 CFR Part 11 &11.10, ISO 13485:2016 &7.5 | Step 1: Login as Patient. Step 2: View available slots for 'Dr. Alice Smith'. Step 3: Select an available slot (e.g., 10:00 AM). Step 4: Confirm booking details. | Book the selected appointment. | The system displays a confirmation message on screen, and the selected slot is marked as booked/unavailable. | Patients can successfully book appointments and receive immediate on-screen confirmation.
Prevent double-booking of a doctor's slot | Verify the system prevents a patient from booking a slot that has already been taken by another patient or is otherwise unavailable. | APPT-101 (6), ISO 13485:2016 &7.5, IEC 62304 &5.2.4 | Step 1: (Pre-condition) Book 'Dr. Alice Smith' for 10:00 AM with Patient A. Step 2: Login as Patient B. Step 3: Attempt to book 'Dr. Alice Smith' for 10:00 AM. | Attempt to book the already taken slot. | The system displays an error message (e.g., 'Slot no longer available' or 'This slot is already booked') and prevents Patient B from booking. | The system robustly prevents double-booking of the same doctor's slot.
Non-admin user cannot access admin calendar view (Security) | Verify that only users with the 'Admin' role can access the full appointment calendar view, ensuring role-based access control. | APPT-101 (5, 7), HIPAA Privacy Rule &164.502, HIPAA Security Rule &164.312, FDA 21 CFR Part 11 &11.10 | Step 1: Login as a 'Patient' role user. Step 2: Attempt to navigate directly to the Admin Calendar view URL (e.g., /admin/appointments). | Access Admin Calendar as a non-admin. | The system denies access, redirects to an authorized page, or displays an 'Access Denied' message. The admin calendar view is not displayed. | The admin calendar view is strictly restricted to authorized admin roles.
Audit trail records appointment booking and rescheduling (Security) | Verify that every appointment booking, rescheduling, or cancellation action generates an immutable audit log entry including user, timestamp, and details of the change. | APPT-101 (7), HIPAA Security Rule &164.312, FDA 21 CFR Part 11 &11.10(e), ISO 13485 &4.2.5 | Step 1: Login as a Patient and book an appointment. Step 2: Reschedule the same appointment. Step 3: Login as an Admin user. Step 4: Access the system's audit logs. | Book and reschedule appointment, then check audit logs. | Two distinct audit log entries are found, one for the initial booking and one for the rescheduling, each containing the user ID, timestamp, and specific changes made to the appointment. | All significant appointment actions (create, update, delete) are recorded in a secure, traceable audit trail.
Confirmation email sent to patient after booking | Verify that a confirmation email with correct appointment details is sent to the patient's registered email address after a successful booking. | APPT-101 (3), FDA – General Principles of Software Validation | Step 1: Book an appointment as a patient with a valid, accessible email address. Step 2: Check the patient's email inbox. | Check patient's email for confirmation. | An email from the system (e.g., 'Appointment Confirmation') is received by the patient, containing the correct date, time, doctor, and location details. | Patients receive timely and accurate appointment confirmation emails.
System handles invalid patient email for confirmation (Negative) | Verify that the system gracefully handles cases where the patient's email address is invalid or non-existent for sending confirmation emails, without crashing and potentially logging the error. | APPT-101 (3), IEC 62304 &5.2.4 | Step 1: Update a patient's profile with an intentionally invalid email address (e.g., 'patient@invalid-domain.xyz'). Step 2: Book an appointment for this patient. Step 3: Check system error logs (if accessible). | Book appointment with invalid email address, check logs. | The appointment is booked successfully, the patient receives on-screen confirmation, but an error indicating email delivery failure is logged by the system without a system crash. | The system is robust to email delivery issues and logs them appropriately without impacting core functionality.
Patient successfully reschedules appointment within 24-hour limit | Verify a patient can successfully reschedule an appointment to a new available slot, provided the change is made more than 24 hours before the original appointment time. | APPT-101 (4), ISO 13485:2016 &7.5 | Step 1: Book an appointment for 'Current Date + 3 days'. Step 2: Login as Patient. Step 3: Access the booked appointment and select 'Reschedule'. Step 4: Choose a new available slot (e.g., 'Current Date + 4 days'). | Reschedule the appointment. | The appointment is successfully updated to the new chosen slot. A confirmation message is displayed. | Patients can reschedule appointments while adhering to the 24-hour policy.
System prevents rescheduling an appointment less than 24 hours prior (Negative) | Verify the system prevents a patient from rescheduling an appointment if the attempt is made less than 24 hours before the original scheduled time. | APPT-101 (4), ISO 13485:2016 &7.5, IEC 62304 &5.2.4 | Step 1: Book an appointment for 'Current Date + 23 hours'. Step 2: Login as Patient. Step 3: Access the booked appointment. Step 4: Attempt to select 'Reschedule'. | Attempt to reschedule the appointment within the 24-hour window. | The system displays an error message stating that rescheduling is not permitted within 24 hours of the appointment, or the reschedule option is disabled. | The system strictly enforces the 24-hour rescheduling policy.
Appointment booking response time under normal load (Performance) | Measure the response time for booking an appointment under simulated normal user load to ensure system responsiveness. | APPT-101 (2), FDA – General Principles of Software Validation | Step 1: Use a load testing tool to simulate 50 concurrent users attempting to book appointments. Step 2: Monitor the transaction response time for the booking operation. | Execute simulated concurrent booking operations. | The average response time for an appointment booking transaction is consistently under 2 seconds. | Appointment booking is responsive and performs well under typical user load conditions.
Patient calendar view is intuitive and clear (Usability) | Verify the patient-facing calendar or list of available slots is easy to understand, navigate, and clearly indicates availability. | APPT-101 (1), FDA – General Principles of Software Validation | Step 1: Login as Patient. Step 2: Navigate to the appointment booking module. Step 3: Observe the display and interaction of available slots. | Evaluate the clarity and user-friendliness of the available slots display. | Dates and times are clearly presented, available slots are distinct (e.g., color-coded or bolded) from unavailable slots, and navigation (e.g., 'Next Week', 'Previous Week') is intuitive. | The patient interface for viewing and selecting appointment slots is user-friendly and clear.
PHI encryption in transit during booking process (Security) | Verify that patient personal health information (PHI) submitted during the appointment booking process is encrypted in transit using secure protocols. | APPT-101 (7), HIPAA Security Rule &164.312, FDA 21 CFR Part 11 &11.10 | Step 1: Use a network proxy tool (e.g., Burp Suite, Fiddler) to intercept network traffic. Step 2: Login as Patient and proceed to book an appointment, entering PHI. Step 3: Inspect the intercepted traffic. | Submit patient data via the booking form while intercepting network traffic. | All data transmission, especially containing PHI, is secured using HTTPS/TLS 1.2 or higher, and the PHI payload is not readable in plain text. | PHI is encrypted in transit during all patient interactions within the appointment module.
System prevents booking appointments in the past (Negative) | Verify that the system prevents patients from selecting or booking an appointment slot that is already in the past. | APPT-101 (2), IEC 62304 &5.2.4 | Step 1: Attempt to use the appointment booking interface. Step 2: Try to navigate to a date in the past (e.g., yesterday). Step 3: Attempt to select a time slot on that past date or a time slot earlier than the current time on the current day. | Attempt to book a past appointment. | The system either visually disables past dates/times, prevents their selection, or displays an error message indicating that appointments cannot be booked for past dates/times. | Appointments cannot be booked for dates or times that have already passed.
Admin views all appointments with filtering (Positive) | Verify an admin user can access the comprehensive calendar view showing all appointments and can effectively filter by doctor, date range, or patient name. | APPT-101 (5, 7), HIPAA Privacy Rule &164.502 | Step 1: Login as an Admin. Step 2: Navigate to the Admin Calendar view. Step 3: Apply a filter for 'Dr. Alice Smith'. Step 4: Apply a filter for 'Next Month's' appointments. Step 5: Search for a specific patient's name. | Apply various filters and search queries in the Admin Calendar. | The calendar view correctly updates to show only appointments matching the applied filters and search criteria. All relevant appointment details are displayed securely. | Admin users can efficiently manage and view all appointments using robust filtering and search capabilities.